## Slide 1: Water & Wastewater Utility Damages
2013 Flood
Michelle Stalker
Technical Specialist
October 16, 2013

## Slide 2
Emergency
Operations Center
(EOC)

## Slide 3
Intake & Dam Crest

## Slide 4
Intake & Dam Crest

## Slide 5: 20”, 36” & 48” Water Transmission Lines

## Slide 6: 36” & 48” Steel Water Transmission Lines
36” Line
48” Line

## Slide 7: 36” Water Transmission Lines

## Slide 8
36” & 48” Water Transmission Lines

## Slide 9: 6" Water Line @ George Rist Ditch & Hwy 34

## Slide 10: 24" Water Transmission Line @ Namaqua

## Slide 11: 16” Water Line at River’s Edge Park

## Slide 12: Southside Lift Station & 20” Force Main

## Slide 13: 15” & 21” Sewer Pipe

## Slide 14: 15" Gravity Sewer Line @ Holiday Ct.

## Slide 15: 15” Gravity Sewer Line @ Namaqua

## Slide 16: Wastewater Treatment Plant Site

## Slide 17:  • Still Smiling! • 