## Water Meter Justification
IRRIGATION METER JUSTIFICATION LETTER
|  | Customer Contact Info |  |  | Design Engineer Contact Info |  |  | Design Engineer Stamp
| Company: |  |  | Company:
| Contact Name: |  |  | Contact Name:
| Phone: |  |  | Phone:
| Email: |  |  | Email:
Instructions: Please contact Bryan Easterly at (970) 962-3749 with questions.
1. Fill in the yellow fields in Microsoft Excel. Attach additional sheets if necessary.
2. Print and have the Design Engineer stamp the form. | [8 empty] | Date:
3. Include this form with the review application. | [7 empty] | Accepted Stamps/Certifications: Colorado Registered Professional Engineer, Landscape Architect, or by a designer certified by the Association of Landscape Contractors of Colorado (CLT-E Certification) or by the Irrigation Association (CID Certification).
PROJECT INFORMATION
Project Name:
Project Address or Subdivision:
Planning & Zoning # (if known):
Description of the proposed irrigation design:
| The project design is based on: | [6 empty] | *Max Flow Rate per Meter Size
[8 empty] | Max Flow Rate | Meter Size | Meter Type
Phasing: If the project will be phased, describe what each phase includes or type "N/A":
[8 empty] | GPM | Inches | Make & Model
[8 empty] | 30 | 0.75" | Sensus I-Perl
Temporary Irrigation: Describe any areas that will have temporary irrigation or type "N/A": | [7 empty] | 50 | 1" | Sensus I-Perl
[8 empty] | 100 | 1.5" | Sensus OMNI T2
| Total irrigated area: |  | square feet shown on landscape plan (include all permeable areas) |  |  |  |  | 160 | 2" | Sensus OMNI T2 | Yes/No
| Are these meter(s) for a hydrozone? |  | Yes/No |  |  |  |  | 400 | 3" | Sensus OMNI T2
| Will multiple irrigation meters be looped? |  | Yes/No |  |  |  |  | 800 | 4" | Sensus OMNI T2
| Pressure Information from City of Loveland |  | Potential Low Pressure (psi) |  |  | Elevation (ft) |  | Source: Section 4.4.6.E.3 of the current edition of the City of Loveland Water & Wastewater Development Standards. |  |  | Yes
|  |  | Potential High Pressure (psi) |  |  | Date Provided |  |  |  |  | No
Irrigation Point of Connection (POC) Calculation Chart
POC | General Location | Area(s) Irrigated |  | Irrigated Areas | Meter Design Flow | Meter Type* | Design Flow Meter Size* | Proposed Meter Size |  | Designed & Proposed Meter Size Match?
No. |  |  |  | ft2 | GPM | Make & Model | Inches | Inches |  | Yes/No
|  |  | Total square feet irrigated by POC(s) including any temporary irrigation | 0
Meter Override Requests: When designed meter size differs from proposed meter size, provide justification below (velocity, max GPM, etc.) and attach calculations.

## Prior Draft Letter (hidden)
2020 WATER METER JUSTIFICATION LETTER • 2018 International Plumbing Code Values | [6 empty] | Type of Water Service
Commercial
Customer Name: |  |  | Project Name: |  |  |  | Multi-Family
Customer Phone: | [6 empty] | Mixed Use
Customer Email: | [6 empty] | Commercial
Project Address or Subdivision: | [6 empty] | Irrigation
Other
WATER SERVICE (Tap, service and meter must be the same size.):
Type: |  | Tap Size:
|  | Meter Type: |  |  |  |  | Hydrozone/Irrigation
Yes
No
WATER FIXTURE COUNTS & VALUES • Load Values from 2018 IPC Table E103.3(2)
Fixture Type (Occupancy/Supply Control Type) | Existing Fixture | + Proposed Fixtures | - Fixtures Removed | = Total Fixtures | x Fixture Unit Values | = Total Fixture Unit Values
| Enter Qty | Enter Qty | Enter Qty | Qty | Load Values | Load Values | Meter Size
Bathroom Group (Private / Flush Tank) |  |  |  | 0 | 3.6 | 0 | 3/4"
Bathroom Group (Private / Flushometer Valve) |  |  |  | 0 | 8 | 0 | 1"
Bathtub Only (Private / Faucet) |  |  |  | 0 | 1.4 | 0 | 1.5"
Bathtub Only (Public / Faucet) |  |  |  | 0 | 4 | 0 | 2"
Bidet (Private / Faucet) |  |  |  | 0 | 2 | 0 | 3"
Combination Fixture (Private / Faucet) |  |  |  | 0 | 3 | 0 | 4"
Dishwashing Machine (Private / Automatic) |  |  |  | 0 | 1.4 | 0 | 6"
Drinking Fountain (Offices, etc. / 3/8" valve) |  |  |  | 0 | 0.25 | 0
Kitchen Sink (Private / Faucet) |  |  |  | 0 | 1.4 | 0
Kitchen Sink (Hotel, Restaurant / Faucet) |  |  |  | 0 | 4 | 0
Laundry Trays - 1 to 3 (Private / Faucet) |  |  |  | 0 | 1.4 | 0
Lavatory (Private / Faucet) |  |  |  | 0 | 0.7 | 0 | Type of Meter
Lavatory (Public / Faucet) |  |  |  | 0 | 2 | 0 | Sensus I-Perl (3/4" and 1")
Service Sink (Offices, Etc. / Faucet) |  |  |  | 0 | 3 | 0 | Sensus Omni C2 (1.5" and larger)
Shower Head (Public / Mixing Valve) |  |  |  | 0 | 4 | 0 | Sensus Omni T2 (1.5" and larger, Irrigation Only)
Shower Head (Private / Mixing Valve) |  |  |  | 0 | 1.4 | 0
Urinal (Public / 1" flushometer valve) |  |  |  | 0 | 10 | 0
Urinal (Public / 3/4" flushometer valve) |  |  |  | 0 | 5 | 0
Urinal (Public / 3/4" flush tank) |  |  |  | 0 | 3 | 0
Washing Machine - 8 lb (Private / Automatic) |  |  |  | 0 | 1.4 | 0
Washing Machine - 8 lb (Public / Automatic) |  |  |  | 0 | 3 | 0
Washing Machine - 15 lb (Public / Automatic) |  |  |  | 0 | 4 | 0
Water Closet (Private / Flushometer Valve) |  |  |  | 0 | 6 | 0
Water Closet (Private / Flush Tank) |  |  |  | 0 | 2.2 | 0
Water Closet (Public / Flushometer Valve) |  |  |  | 0 | 10 | 0
Water Closet (Public / Flush Tank) |  |  |  | 0 | 5 | 0
Water Closet (Public or Private / Flushometer Tank) |  |  |  | 0 | 2 | 0
Other: |  |  |  | 0 |  | 0
Other: |  |  |  | 0 |  | 0
Other: |  |  |  | 0 |  | 0
Other: |  |  |  | 0 |  | 0
Water Demand Fixture Unit Total: | [5 empty] | 0
Flow (GPM) Per 2018 IPC Table E103.3(3) included on next tab.
Will there be Irrigation?
Total Flow (GPM): | Include all water uses (indoor, irrigation, swimming pool makeup water, etc.)
| Signature (Property Owner/Authorized Representative): |  |  |  | Date:
Instructions: Please contact Blake Hornung at (970) 962-3709 with any questions. 1. Fill in all yellow fields on form in Microsoft Excel. 2. Print amd have the property owner or authorized representative sign the form. 3. Submit signed form to Blake Hornung at the City of Loveland Water and Power Department.
Email: Blake.Hornung@cityofloveland.org | Mail: | Loveland Water & Power |  | Fax: | 970-962-3400
|  | Attn: Blake Hornung |  |  | Attn: Blake Hornung
200 N. Wilson Ave.
Loveland, CO 80537

## Table E103.3(3) (hidden)
Supply Systems Predominately for Flush Tanks |  | Supply Systems Predominately for Flushometer Valves
Load | Demand | Load | Demand
Water Supply Fixture Units | Gallons per Minute | Water Supply Fixture Units | Gallons per Minute
1 | 3 | - | -
2 | 5 | - | -
3 | 6.5 | - | -
4 | 8 | - | -
5 | 9.4 | 5 | 15
6 | 10.7 | 6 | 17.4
7 | 11.8 | 7 | 19.8
8 | 12.8 | 8 | 22.2
9 | 13.7 | 9 | 24.6
10 | 14.6 | 10 | 27
11 | 15.4 | 11 | 27.8
12 | 16 | 12 | 28.6
13 | 16.5 | 13 | 29.4
14 | 17 | 14 | 30.2
15 | 17.5 | 15 | 31
16 | 18 | 16 | 31.8
17 | 18.4 | 17 | 32.6
18 | 18.8 | 18 | 33.4
19 | 19.2 | 19 | 34.2
20 | 19.6 | 20 | 35
25 | 21.5 | 25 | 38
30 | 23.3 | 30 | 42
35 | 24.9 | 35 | 44
40 | 26.3 | 40 | 46
45 | 27.7 | 45 | 48
50 | 29.1 | 50 | 50
60 | 32 | 60 | 54
70 | 35 | 70 | 58
80 | 38 | 80 | 61.2
90 | 41 | 90 | 64.3
100 | 43.5 | 100 | 67.5
120 | 48 | 120 | 73
140 | 52.5 | 140 | 77
160 | 57 | 160 | 81
180 | 61 | 180 | 85.5
200 | 65 | 200 | 90
225 | 70 | 225 | 95.5
250 | 75 | 250 | 101
275 | 80 | 275 | 104.5
300 | 85 | 300 | 108
400 | 105 | 400 | 127
500 | 124 | 500 | 143
750 | 170 | 750 | 17
1000 | 208 | 1000 | 208
1250 | 239 | 1250 | 239
1500 | 269 | 1500 | 269
1750 | 297 | 1750 | 297
2000 | 325 | 2000 | 325
2500 | 380 | 2500 | 380
3000 | 433 | 3000 | 433
4000 | 525 | 4000 | 525
5000 | 593 | 5000 | 593